## Tab 2 - BUSINESS CRITERIA
TAB 2 BUSINESS REQUIREMENTS
Instructions: Please provide a response to each comment listed. The University believes that the prospective bidder's previous experience, financial capability, expertise of personnel, and related factors are important in assessing the bidder's potential to successfully fulfill the qualifications defined herein. Lack of comments to any items listed may render the bidder's proposal as non-responsive.
Item No. | Business Criteria and Other Information Requested | Does Not Meet Qualification | Meets Qualification | Comment
1 | How many hospitals does your company provide Beds and Gurneys for in California? How many are academic medical center customers? Are any of these customers University of California centers?
2 | Please name and describe the background of key subcontractors or partners that would be used in the University's implementation.
3 | Please provide a list of your current strategic alliances. Provide any current or future plans for mergers or acquisitions for your company. If there are any plans currently in progress, please provide details of the plans and an estimated timeline.
Item No. | Sustainability Information Requested (Mandatory Section - not to be modified) | Does Not Meet Qualification | Meets Qualification | Comment
1 | To the extent possible, the awarded vendor's offered products, services, solutions and operations shall align with the sustainability goals of UCLA Health as expressed in the UC Sustainable Practices policy. (https://policy.ucop.edu/doc/3100155/SustainablePractices)
2 | In the comments column, state your firm's progress, policies and/or practices in the following areas:
2.1 | Green Building Design
2.2 | Clean Energy
2.3 | Climate Protection
2.4 | Sustainable Transportation
2.5 | Sustainable Building Operations
2.6 | Zero Waste
2.7 | Sustainable Water Systems
3 | State how sustainable practices will be employed in providing the offered products, services or solutions to UCLA Health.
Item No. | Equity, Diversity and Inclusion Information Requested (Mandatory Section - not to be modified) | Does Not Meet Qualification | Meets Qualification | Comment
The University of California and UCLA Health are committed to doing business in an equitable manner by working with small, local and diverse businesses. Vendors are invited to provide a response to the following optional questions.
1 | Does your company have an Equity, Diversity & Inclusion (EDI) program? If so, in the comments column state the year it was established.
1.1 | State what objective has your EDI program achieved.
2 | Does your company have a designated individual responsible for leading your diversity initiatives? State titles or roles within the organization.
3 | Does your company mentor and/or has your company established programs to develop talented individuals of diverse backgrounds for future opportunities within your company and/or industry? Explain.
4 | Does your organization have any other programs or initiatives that aim to increase the diversity and equity among your employee population?
5 | Does your company have a written and public anti-racist policy? Submit a copy with your company's bid response and/or state where this information can be publicly accessed.
6 | Does your company incorporate Equity, Diversity & Inclusion in your hiring process? Explain.
7 | Does your Company have a supplier diversity program? If so, please describe your program beyond a broad “Commitment to Diversity” statement.
8 | Has your company examine the usage of outdated terminology/language? Explain.

## Tab 3 REFERENCES
TAB 3 REFERENCES
Instructions: The vendor shall submit reference information for healthcare clients with similar requirements to UCLA Health for projects successfully completed within the last 5 years. If possible, please include clients for whom the equipment recommended to UCLA was installed.
INFORMATION REQUESTED | REFERENCE #1 - ACADEMIC MED CENTER | #2 - CALIFORNIA HOSPITAL SYSTEM
Customer name
Street address
City/State/Zip Code
Clinical Contact name/title
Clinical Contact telephone number
Clinical Contact Email address
Summary of project
Quantity & model of beds installed
Quantity & model of gurneys installed
Date system implementation started
Date system was approved for production
INFORMATION REQUESTED | #3 - OTHER HOSPITAL | #4 - OTHER HOSPITAL
Customer name
Street address
City/State/Zip Code
Clinical Contact name/title
Clinical Contact telephone number
Clinical Contact Email address
Summary of project
Quantity & model of beds installed
Quantity & model of gurneys installed
Date system implementation started
Date system was approved for production

## Tab 4 - MANDATORY REQUIREMENTS
TAB 4 - MANDATORY REQUIREMENTS
Instructions: The respondent should indicate whether or not each of the requirements can be met. Any specification not marked as either "Meets Requirement" or "Does Not Meet Requirement" may render the bidder's proposal non-responsive Lack of comments to any items listed may render the bidder's proposal as nonresponsive. The responder shall explain alternate solutions or clarifying information in the comment column.
Item No. | Mandatory Requirements | Meets Requirement | Does not meet Requirement | Comment
1 | The equipment(s) proposed shall include all equipment, software, accessories, and features necessary for a complete, operating, state-of-the-art system. Any software shall have been validated by prior use in healthcare applications (i.e., unless UCLA directs in writing, software supplied shall not be of an investigational nature).
2 | Any equipment and materials delivered to UCLA Health System must be new and unused other than such use as is necessary for pre-installation and testing. Bidder must be capable of supplying equipment which is obtained by the bidder from legal and reputable channels.
3 | Equipment must be manufactured by an ISO certified manufacturer . Vendor represents and warrants that any medical device sold pursuant to an anticipated purchase order or agreement has received FDA approval for the use set forth in the instructions accompanying the product.
4 | The seller warrants and represents that the equipment when delivered shall conform to all applicable standards and requirements of the California conform to all applicable standards and requirements of the California Occupational Safety and Health Act (OSHA).
5 | Electrical Materials, devices, fittings and appliances shall be suitable for and be equipped with a three-wire grounding system including power cord and power plug. Power plugs and receptacles shall be hospital grade. Electrical safety requirements shall be governed by California Title 22, Division 5, Charter 1, Article 8, Section 70853. All electrical devices must have an approval, for its intended use, by an acceptable independent laboratory such as U.L.1, ETL, , SGS, TUV, or CSA.
6 | For each equipment model recommended, the vendor shall provide product brochures, product manuals, technical data sheets (cut sheets), installation manuals/instructions, OSHPD-approved engineered seismic drawings and calculations (e.g. EASE)
7 | The bidder agrees that any future agreement for the purchase of the products envisioned in the RFI be based on the applicable Vizient agreement for the systems, or if applicable, an existing master agreement executed by the bidder and UCLA Health. State current Vizient agreement number(s) for proposed systems and expiration date.
8 | The bidder agrees to include with its information an electronic version of any standard maintenance agreement and an electronic version of any software license agreement applicable to the recommended products.

## TAB 5 BED REQUIREMENTs
TAB 5 - FUNCTIONAL REQUIREMENTS
Instructions: The respondent should indicate whether or not each of the requirements can be met. Any specification not marked as either "Meets Requirement" or "Does Not Meet Requirement" may render the bidder's proposal non-responsive. The responder shall explain how the recommended equipment meets the requirement or any non-compliance or alternate solutions in the comment column.
Item No. | A - General Requirements | Does Not Meet Requirement | Meets Requirement | Comment
State the key reason why your company's offerings should be chosen by UCLA over your competitors' equipment.
Item No. | B - Specific Requirements for Beds | Does Not Meet Requirement | Meets Requirement | Comment
1 | Do your bed frames have hooks to allow urinary catheter bags and other drainage bags to be hung without touching the floor with the bed in lowest height? Please provide the height above the floor
1 | Are there hooks to hang urinary bag?
2 | Are there underside hooks to hang electric cords out of walk path and off of the floor?
3 | Describe sleep surface design that minimizes risk for loose, dislodged or kinked hoses or connections
4 | Is there QR code on the bed for just-in-time education on the sleep surface and bed describing basic features such as for when staff do not recall how to program something or meaning of icons?
5 | Are all surfaces sealed, nonporous, coated, waterproof and compatible with PDI wipes (bleach included)
6 | Are your mattresses compatible with PDI products?
Item No. | C - Specific Requirements for Surfaces | Does Not Meet Requirement | Meets Requirement | Comment
1 | Was your mattress tested using the S3I Support Surface Initiative Standards to address pressure relief, immersion, and microclimate? Please describe your testing protocols and testing results
2 | Can your mattress provide pressure redistribution for patients who have received a muscle flap to the buttocks?
3 | Describe the stain resistance features of your mattress covers. Please provide durability testing results
Please describe the cleaning process for the mattresses- please provide IFU
4 | Do you provide replacement covers when they are heavly stained or damaged at no charge?
5 | Are the mattress covers breathable?
6 | How does the mattress cover prevent absorbing perspiration and bodily fluids?
7 | Can alternating pressure setting be turned off if the patient is sensitive to motion?
8 | Can the automatic sensor be turned off to make manual adjustments for firmness?
9 | Describe your safety features to avoid mattress over inflation
10 | Can the air mattress be turned off without an audbile or visual alert?
11 | How long does it take the mattress to deflate when unplugged?
12 | Is your sleep surface sensitive to adjust to infants and children weighing under 50 lbs?
13 | Does your mattress have a turn assist feature?
14 | How long does the turn assist feature stay on?
15 | Does your mattress have a max inflate feature?
16 | How long does it stay active once it is turned on?
17 | Does the mattress adjust air in the cells under the sacrum when the patient is in semi-fowlers position?
18 | Describe how your bed allows for increased height of patients (increased length)
19 | Describe how the mattress fills in for the space when the bed is extended?
20 | Describe your alarm features- visual and audible and how they are reset
21 | Does the bed need to be brought to the technician to service and clear the alarm?
22 | Are the internal parts and sensors in the mattress easily replaceable?
23 | Can the mattress be replaced separately from the bed?
24 | What is the expected lifespan of the mattress and bed frame?
25 | How many outlets does the bed provide?
26 | Is there a bar to hang devices off the foot of the bed?
27 | Does the weight of the devices on the foot of the bed effect the bed extender function?
28 | Does your bed have a sensor to detect for obstructions when lowering height of the bed?
Item No. | D - Specific Requirements for Specialty Beds | Does Not Meet Requirement | Meets Requirement | Comment
1 | Describe the features your beds offer to reduce our dependance of renting specialty beds.
2 | Do you have protective pads for the siderails (e.g. seizure pads)
3 | Please provide measurements,total capacity and features for your bariatric beds
4 | How low is low height of your bed frame in inches?
5 | Describe bed-to-chair positioning ability for ICU and bariatric patients.
6 | Will bed alarm work in this high fowler position?
7 | What is your solution for bariatric patients who are within the bed weight limit but need the extra width?
8 | Do the sleep surfaces for bariatric or those with extra width have integrated assist system and/or compatible with rental motorized repositioning assist system? (e.g. Hercules repositioner)
9 | Describe your power cord solution for ligature risk and for areas requiring a longer power cord
10 | Please describe your birthing bed features and integrations
Item No. | E - Specific Requirements for Device Integration | Does Not Meet Requirement | Meets Requirement | Comment
1 | Does your bed Bed require additonal infrastructure to connect directly with Baxter HillRom Nurse call? If yes, please describe
2 | Describe bed alarm options in the room (locally) and integration with nurse call, RFID tags, dashboards and EHRs
3 | Describe the type of nurse call system connectivity, such as cable or wireless or both. Describe the capabilities and requirements of your options
4 | Describe all of the locations that a bed exit alarm can ennunciate and be seen visually
5 | Could the exit alarm trigger a call to the staff Vocera phone?
6 | When the cable connection to the Nurse call is disconnected (such as when the bed is off-unit), is there a way to pause the alarm?
7 | When the cable connection is not connected back to the wall port (such as after returning from procedure or after terminal room cleaning), is there an alert so that staff may be reminded to connect it?
8 | Describe your connectivity to EPIC (EHR) and what parameters can be integrated (HOB, Weight) If so, please describe the hardware and software requirements
Item No. | F. Mobility Options | Does Not Meet Requirement | Meets Requirement | Comment
1 | Do your beds provide a motorized option support the transport of a patient up a ramp in the standard bed offering? Please describe maximum slope that the bed can accommodate
3 | Describe sit-to-stand options for ICU and bariatric patient mobility.
5 | Is your bed offering compatible with the Arjohuntleigh safe patient handling line including Sara Stedy
Item No. | F. Falls Specific Questions | Does Not Meet Requirement | Meets Requirement | Comment
1 | Describe the user experiennce and usability with basic bed functions (side rails, brakes)
2 | Describe your bed exit alarm functions?Describe activation, pausing, and discontinuation of bed exit alarm
3 | Describe how your beds address patient movement in the bed for accurate falls prevention
4 | Describe any auto-reset features after pausing bed exit alarm
5 | Describe any dashboard visualization tools to easily view unit level bed safety information
6 | Describe all integration options between the beds, nurse call, the EHR, VOIP phones, RFID badges and dashboards
7 | Describe any visual alert indicators that indicate exit alarms status (armed/not armed) from a distance (e.g. visual light indicators or dashboard icons, etc.)
8 | Are there voice prompts that redirect the patient when the bed exit alarm goes off?
9 | Is there a patient lock feature for the bed exit alarm and other bed features?
10 | Describe the siderails and distance of gaps between rails. Describe how your solution eliminates the patients' risk of slipping between siderails?
11 | Describe any protective features at the edge of the bed to prevent patient from sliding off the edge when in a seated position with legs over the side of the bed
12 | Describe any upcoming or existing fall features not mentioned here
Item No. | G. Patient Satisfaction Questions | Does Not Meet Requirement | Meets Requirement | Comment
1 | Describe how your solution mitigates noise generated by the bed
2 | Describe how to address the sleep surface alternating pressure movements when patients complain about it disturbing their rest or contributing to motion sickness effect
3 | Will your beds accommodate the overbed table foot print of Herman Miller Mirage and Steelcase U-base Overbed tables with the Rectangular Thermoform tops when bed is in lowest position
4 | Will your beds accommodate the overbed table table surface over raised side rails?
5 | Describe your bed extension strategy for tall patients and include the maximum height accomodated
Item No. | H - Warranty & Support Requirements (for all offered equipment) | Does Not Meet Requirement | Meets Requirement | Comment
1 | The bidder shall provide an electronic copy of the warranty and service agreement documents for all proposed equipment or systems. Briefly state standard service level agreement offerings for:
1.1 | System check-out prior to warranty termination
1.2 | Warranty period coverage will following customer acceptance
1.3 | Routine Service Call response time
1.4 | Emergency Service response time
1.5 | Preventative maintenance
1.6 | Duration of availability of spare parts, technical documentation, maintenance services following customer acceptance.
1.7 | Software patches and upgrades
1.8 | Field Service documentation
1.9 | In-Service training
2 | UCLA Health requests a 24 month manufacturer warranty on all equipment and associated devices. Are you able to accommodate this request?
2.1 | Biomed training to support all devices to be offered locally or on site.
2.2 | Where is the closest distribution center that will be suppling service parts associated with these devices?
2.3 | Are any specialized tools or test equipment required to support/maintain these devices?
Item No. | I. Rental Questions | Does Not Meet Requirement | Meets Requirement | Comment
1.1 | Are the beds designed to accommodate bariatric patients? If so, what is the weight capacity? Do you offer a Bariatric rental option?
1.2 | What strategies do you have in place to help hospitals reduce or eliminate reliance on bed rentals? Please list the rental options that you offer
1.3 | Can your beds be easily adjusted to accommodate varying patient needs? How will this flexibility reduce the need to rent specialized beds?
1.4 | Do you offer any solutions for optimizing bed use, such as technology or data analytics to track bed occupancy and availability?

## TAB 6 GURNEY REQUIREMENTS
TAB 6 - GURNEY FUNCTIONAL REQUIREMENTS
Instructions: The respondent should indicate whether or not each of the requirements can be met. Any specification not marked as either "Meets Requirement" or "Does Not Meet Requirement" may render the bidder's proposal non-responsive. The responder shall explain how the recommended equipment meets the requirement or any non-compliance or alternate solutions in the comment column.
Item No. | C - Specific Requirements for Gurneys | Does Not Meet Requirement | Meets Requirement | Comment
1 | Are all surfaces sealed, nonporous, coated, waterproof and compatible with PDI wipes (bleach included)
2 | Please describe the cleaning process for the frames and mattresses- please provide IFU
3 | Do frames / gurney stretcher meet the requirements to exceed 500lb weight requirement?
4 | Do frames/ gurney stretcher meet the requirements to exceed 700lb weight requirement?
5 | Provide the width of your gurneys (side rail to side rail)
6 | Do your gurneys accomodate call light integration? If so, please describe
7 | Describe your MRI compatible gurney?
8 | Describe your fluoroscopy compatible gurneys
9 | Are your gurney frames compatible with PDI products?
10 | Are your gurney mattresses compatible with PDI products?
11 | What is the serviceable life expectancy of the gurney stretcher?
12 | How long will parts be available for discontinued gurney stretcher models?
13 | What are the warranty terms for gurney stretchers?
14 | Do you offer loaner gurneys if gurneys are required to be removed from service for repair?
15 | Describe any gurney extension solutions for taller patients
16 | Describe any gurney extension solutions for taller patients
17 | Describe your steer assist and power assist features for gurneys
18 | Describe your CPR back board accomodation solutions
19 | Describe the hook options for chest tubes/ urinary catheters etc
20 | Describe your IV pole integration and ability to move for procedures
21 | Describe any power outlet access that can be added to the gurneys

## TAB 7 EQUIPMENT DETAIL
TAB 6 - PROPOSED EQUIPMENT INFORMATION
Instructions: The bidder should supply the requested information in each cell. For each use case, the bidder should indicate its recommended model and any alternative models or models planned for imminent release that UCLA should consider. Any equipment not proposed should be indicated by a "no-bid" response. Next, please confirm whether requested documents indicated each column are included with your company's submission. Prices listed should be those available to UCLA Health at its current tier levels via Vizient GPO agreements. Lack of information may render the bidder's proposal non-responsive.
Item No. | Birthing Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | HillRom Affinity (birthing bed)
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Bariatric Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | SizeWS SW Evolution
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Bariatric Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
| Recommended Model | TotalCare Bariatric Plus
Alternate model
Future Model (imminent release)
Item No. | Bariatric Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | HillRom Compella Bariatric
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker S3 EX
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker 3005 S3EX
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model
2 | Alternate model | HillRom Compella
3 | Future Model (imminent release)
Item No. | Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model
2 | Alternate model | HillRom Progressa
3 | Future Model (imminent release)
Item+A35:J35 No. | Beds | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | HillRom VersaCare
2 | Alternate model
3 | Future Model (imminent release)
Item+A35:J35 No. | Specialty Bed | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Kreg Catalyst
2 | Alternate model
3 | Future Model (imminent release)
Item+A35:J35 No. | Specialty Bed | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Kreg EZ-Winder Bariatric Bed
2 | Alternate model
3 | Future Model (imminent release)
Item+A35:J35 No. | Specialty Bed | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Kreg Umano Low Bed
2 | Alternate model
3 | Future Model (imminent release)
Item+A35:J35 No. | Bariatric Bed | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Agiliti Hercules Bariatric Bed
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker Prime Big Wheel
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
| Recommended Model | Stryker Prime 5th Wheel
Alternate model
Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker Transport Stretcher
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker Fluoroscopy Stretcher
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker OB GYN Stretcher
2 | Alternate model
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model
2 | Alternate model | Stryker Model M Series SM Stretcher
3 | Future Model (imminent release)
Item No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model
2 | Alternate model | 104 5th Wheel
3 | Future Model (imminent release)
Item+A35:J35 No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker Eye Gurney
2 | Alternate model
3 | Future Model (imminent release)
Item+A35:J35 No. | Gurneys | UCLA Legacy Model | Mfr/Model # Recommended | Product Brochure | Cut Sheet - Tech Data | Product Manual-IFU | Install-Instruction Manual | Vizient each $ | Installation Labor Estimated $
1 | Recommended Model | Stryker M series 1025 Stretcher
2 | Alternate model
3 | Future Model (imminent release)

## TAB 8 - PRICING
TAB 7 - PRICING
Instructions: Please provide line item pricing for all major system components and needed accessories. Vendor may add lines to pricing template to provide a list of options. In addition to completing the template below, the vendor shall attach a quote, on the company's standard quote sheet outlining all equipment proposed. Separately, provide a complete list of all consumables required for Neurosurgery at the most favorable pricing availalble to UCLA Health.
QTY | U/M | Equipment | Unit List Price | Unit Net Price | Extended Price
1 | EA | BASE UNIT
1 | EA | REQUIRED SOFTWARE
1 | EA | PROPRIETARY STORAGE (IF REQUIRED)
LIST ALL REQUIRED INSTRUMENTS AND ACCESSORIES
1 | EA
1 | YR | WARRANTY (included with equipment purchase)
0
STATE LEAD TIME ARO:
Total Base System
OTHER RECOMMENDED COMPONENTS or ACCESSORIES (please specify):
QTY | U/M | SERVICES | Unit List Price | Unit Net Price | Extended Price
1 | EA | INSTALLATION
1 | EA | TRAINING
SERVICES SUBTOTAL
PROPOSED SOLUTION ACQUISITION TOTAL
YEAR 2 SUPPORT (Standard SLA)
YEAR 3 SUPPORT (Standard SLA)
YEAR 4 SUPPORT (Standard SLA)
YEAR 5 SUPPORT (Standard SLA)
OTHER ON-GOING CHARGES (LIST BELOW)
|  | FOLLOW-UP TRAINING | 1
SUBSEQUENT YEARS SUBTOTAL
5-YEAR COST OF OWNERSHIP