## Clarifications
Digital Pathology RFP# 7139
Questions/Clarifications
Category | Questions/Clarifications | UCLA Response
Mandatory Requirements | Is a scanner + IMS/AI submission preferred or is an IMS/AI-only submission allowed? | Scanner + IMS/AI is preferred
Mandatory Requirements | If an IMS/AI-only submission is allowed, is Tab 4, Questions 1.0-6.0, and 8.0 relevant for such a submission? | N/A
Mandatory Requirements | Does UCLA require FDA clearance for both IMS and AI? Just IMS? or is this referencing hardware? (Tab 4, Question 3.0) | No
Mandatory Requirements | Is there an alternative to Dun & Bradstreet report that we can provide? (Tab 2, Item No. 10.3) | Please provide a report comparable such as Rapid Ratings Corporate report. This will suffice initially.
Mandatory Requirements | Item #6: Regarding the system being used successfully in a successful surgery at an academic medical center of 200 beds or greater. Is this referring to imaging in or adjacent to an active OR? | Adjacent
Mandatory Requirements | Item #8: Can you please provide more information on the type of AV system integration you're looking for? | N/A
Mandatory Requirements | Is there an NDA to cover the additional submittals, as we only share financial statements & license agreements under NDA as we are a private company. If not, can these documents be provided only once the NDA has been put in place between our two entities? | If appropriate, an NDA will be entered into.
Mandatory Requirements | We do not have a Dun&Bradstreet Supplier Qualifier Report but we do have a Rapid Ratings Corporate Risk Analysis report. Would this be an acceptable substitute as it is written in question 10.3 "or similar". | The Rapid Ratings Corporate report will suffice initially.
Mandatory Requirements | We are to provide references per tab 3, but the categories do not match what is outlined in the RFP. Currently in the document it is listed as REFERENCE #1 - ACADEMIC HOSPITAL, #2 - CALIFORNIA HOSPITAL SYSTEM, #3 - CALIFORNIA HOSPITAL, and #4 - OTHER REFERENCE. Are you looking for 2 California references and 2 other references, or can we provide 4 references across the nation in similar scope to UCLA as the most relevant clients for our organization are on the East Coast? | Across the nation is fine
Mandatory Requirements | In Tab 4 question 4, it is specified that "Equipment must be manufactured by an ISO certified manufacturer ." is ISO certification sought for software only manufacturers? | Yes
Mandatory Requirements | What is the definition of "successfully used in successful surgery " in Tab 4 question 6. Are you looking for a software solution that was used for consults or for frozen sections? | Yes
Mandatory Requirements | When is the redlined BAA and BAA questionnaire due for section in tab 4 question 10.4? Is this done after evaluation of the bid and finalist selection as the questionnaire is not available in the portal? | There may be cases when PHI is shared in the performance of the work. The signed BAA is required prior to contract execution
Mandatory Requirements | According to UC terms and conditions, insurance requirements are specified in Exhibit 1 to Appendix DS, but this document is not found in the proposal? | Appendix DS is part of the publicly posted RFP.
Mandatory Requirements | On Requirement 11.0 on Tab 4, it refers to a that can be used in place of the Master UC Terms and Conditions. This would be applicable for us as a software-only company. However, we don't see this document in the provided list on the RFP website. | At this time, only the Master UC Terms and Conditions needs to be signed
Mandatory Requirements | The Master UC Health Software Hosting Agreement does not appear to be included in the RFP? | At this time, only the Master UC Terms and Conditions needs to be signed
Mandatory Requirements | It is requested that bidder agrees to complete the Data Security (DS) Questionnaire, but this document does not appear in the RFP? | Appendix DS is part of the publicly posted RFP.
Mandatory Requirements | In Items 6, 8, and 9, please clarify how you anticipate the system to be used. | Routine histology, cytology, and FS
Mandatory Requirements | What are the main reasons UCLA Health is implementing Digital Pathology? What are the key drivers and are there any specific goals to be achieved? | Improve patient care and TAT
Mandatory Requirements | Is FDA clearance required for all functional areas of need? | No
Implementation | Can UCLA provide expected volume of cases and volume of images that will be uploaded into the image management system in Y1, Y2, Y3, Y4, and Y5? What will the ramp-up look like? | Unsure at this time
Implementation | Can UCLA provide more information about the LIS or LIS(es) that the image management system should be integrated into? | EPIC
Implementation | Functional Requirements: B - Specific Digital Pathology Requirements Item #2.8 Are Live consults on a case with or w/o chat/audio video support required to be embedded in the software or can third party applications be engaged? | Third party can be engaged
Implementation | Functional Requirements: C - Procedures, Item #1: Can you provide more details on what they're looking for in regards to CPT Codes and why | N/A
Implementation | Functional Requirements: D - intra-operative support, Item #1: Can you provide more detail on what you're looking for regarding Intra-operative support? | Intra-operative FS consult capability
Implementation | In Tab 5 - functional requirements, how do you want software vendors to answer "Not Applicable" for hardware related questions? | N/A
Implementation | In Tab 5 row 39, we see that UCLA is looking for System integration with a vendor neutral archiving solution. Does this mean that the preferred solution is DICOM compatible, or that it has a roadmap for DICOM compatibility as most AI today is not available for DICOM images/files? | Yes
Implementation | How many pathologists will be trained to use the system for clinical diagnosis? | Unsure at this time
Implementation | How many sites will be integrated and what is the general geographic make-up? | At least 4-5, mainly West LA
Implementation | Are there targeted dates on when to start the project or when to go live with digital pathology for clinical diagnosis? | Unsure at this time
Implementation | Which locations are included in this RFP? | All UCLA Health locations
Implementation | What is the expected daily volume scanned for each location? | Unsure at this time
Implementation | When is the anticipated go live date? | 2025-01-01
Technology | Is the mobility specifically a requirement for the scanner, or a requirement for the IMS to work on mobile devices (e.g. tablets)? (Tab 5, DP Requirement F) | Both
Technology | What are UCLA's specific TAT requirements? (Tab 5, DP Requirement I) | Unsure at this time
Technology | What specific concerns does UCLA have about software upgrade procedures? Does UCLA have any existing process requirements that the vendor would need to abide by? (Tab 5, DP Requirement H) | Limited downtime
Technology | Are you looking for a digital image management solution for: Education, Research, Internal clinical cases, and/or Clinical Consults | All
Technology | In the pricing, it seems more hardware focused rather than adapted to SaaS where we have annual fees for the use of our software. As such is looking for a 1, 3 or 5 year plan? | long term plan preferred
Technology | For pricing, how many scans do you plan on generating through years 1 through 5? | Unsure at this time
Technology | For pricing, are there plans to migrate an existing image archive? If so, how many of these archival images are anticipated to be scanned over years 1-5? | Unsure at this time
Technology | What is the estimated volume of external consult cases, and will they all be scanned locally at UCLA or at the external sites using alternative scanners/technologies. | Unsure at this time
Technology | How many external sites are you looking to provide consulting services to? | 4-5 locations
Technology | How many pathologists will require system access? | Approximately 70
Technology | In the estimate, are you looking for cloud or on-premise hosting of the images? | Cloud
Technology | If on premise, do you want local IT staff to manage SQL/MySQL/Servers/VPN or are you looking for your service provider to install and maintain these devices? | N/A
Technology | If on premise, are you looking for our organization to provide a quote for servers or will these be provided using existing resources. | N/A
Technology | If on premise, do you want to leverage cloud resources for archival image storage? | N/A
Technology | Do you currently have a relationship with Azure, AWS or Google for either slide storage, cloud compute and/or document archiving? | Yes
Technology | How long are you looking to archive a) Primary Care Images and b) External Consult Images | Unsure at this time
Technology | Should we expect that a local IT team twill be available throughout the project duration to configure local resources (SQL, MySQL, Servers, VPN) to enable our engineer to run and install the software? | Yes
Technology | Is there a local IT team that will be available throughout the project duration to configure the LIS interface to send and receive the appropriate HL7 messages? | Yes
Technology | Are you looking to leave out costing for AI implementation in this RFI as these fees vary as a function of the technologies deployed and total volumes. | No
Technology | Are you looking to leave out costing for Computational Hardware (Servers & Storage) if an on-premise solution is required as these go to a different billing department, or resources are provisioned for already at UCLA? | N/A
Technology | Which LIS are you looking to interface with? | EPIC
Technology | What are the estimated slide volumes for routine H&E, IHC, Cytology, Frozen Sections and any other use case to be supported. | Approximately 3000 per day
Technology | Is there a need to support fluorescence image scanning and if so, what volume? | Unsure at this time
Technology | Is there a need to support 2" x 3" mega-slide scanning and if so, what volume. | Unsure at this time
Technology | Are there any existing scanners that will be integrated as part of the solution? If so, how many and what make and model? | No
Technology | Are there any specific AI algorithms from commercially available solutions that should be included as part of the integrated solution? | No - interested in all options
Technology | Does UCLA Health have interest to create and integrate use of their own AI models within workflow? | Unsure at this time
Technology | Is the existing vendor neutral archive of UCLA Health adequate for to manage the archival, retrieval and viewing of pathology images by multidisciplinary teams or tumor board meetings? Should we include a potential solution capable of doing so as an optional component within our response? | Yes please include
Client Support | We see that "Vendor shall provide an on-site engineer throughout the clinical acceptance period or as deemed acceptable by UCLA." Is this required for cloud-based SaaS solutions or only for hardware installation? | Both
Miscellaneous | What specific collaborations are UCLA interested in facilitating? (Tab 5, DP Requirement C) | tumor board, teaching, consultation
Miscellaneous | Business Criteria: Item #2: Can we add a link to our website for the executive Biographies requirement? | Please respond to this with a summary of executive Biographies.
Miscellaneous | Business Criteria: Item #10.2: Is the requirement to release financial statements applicable for all companies, Public and Private? | If necessary, an NDA will be entered into.
Miscellaneous | For Item 1.0 in Section E (instruments and consumables) for Tab 5 Functional Requirements, please answer the questions below in order to provide pricing. Will the customer be providing the server hardware or are they planning to purchase from the vendor? | Purchase
Miscellaneous | For Item 1.0 in Section E (instruments and consumables) for Tab 5 Functional Requirements, please answer the questions below in order to provide pricing. What is your anticipated annual slide scanning volumes? | Unsure at this time
Miscellaneous | For Item 1.0 in Section E (instruments and consumables) for Tab 5 Functional Requirements, please answer the questions below in order to provide pricing. What is the data retention for slide images? | 10 years
Miscellaneous | For Item 1.0 in Section E (instruments and consumables) for Tab 5 Functional Requirements, please answer the questions below in order to provide pricing. How many locations will be scanning slides? | 4-5 locations
Miscellaneous | For Item 1.0 in Section E (instruments and consumables) for Tab 5 Functional Requirements, please answer the questions below in order to provide pricing. How many users will be viewing slide images? | 100+
Miscellaneous | Is there a preference for either an Opex or Capex based pricing model? | Both
Miscellaneous | Many areas in the "digital-pathology-rfp-7139" file for vendor input are highlighted in gray while others are white. Can you confirm if this is intentional? | In the RFP# 7139 Requirements Tabs, there are Meets & Does Not Meet sections highlighted in gray. This is intentional. The sections can still be completed by the vendor.
Miscellaneous | Will UCLA be providing all vendors with slide volumes and number of sites where Digital Pathology scanners will be located? | Yes
Miscellaneous | Does UCLA only need TAB 8 "Pricing" to be filled out for 1 x high throughput digital pathology scanner with its associated software and storage? If not, can UCLA clarify how many scanners are needed or provide workflow slide volumes so each vendor can provide the appropriate pricing and quotation? | Unsure of how many scanners needed at this time - requesting that information from vendor
Miscellaneous | In reference to TAB 3-REFERENCES "State Modality purchased (neuro?)" - Is this in scope for this RFP? | Reference Tab has been corrected. New document can be found on the RFP website, RFP# 7139
Miscellaneous | In reference to TAB 3-REFERENCES "Number of uses per year of the robot (cranial)" - Is this in scope for this RFP? | Reference Tab has been corrected. New document can be found on the RFP website, RFP# 7139